## Design Standard
Comments Register - Design Standard
Draft Design Standard 1 – Engineering Requirements for Land Division
Document Details:
Reviewer
No. | Document name | Rev | Page | Ref (Section, table, figure no.) | Comment | Author
1 | Design Standard |  | 16 | 4.4 | In raising the levels at the boundary there is a risk of exceeding the grade of the footpath crossfall. It should be stated that grade of footpath and verge cannot exceed that specified in 5.8. | Example
2 | Design Standard |  | 22 | 4.11 | A certificate of structural integrity should also apply for prefabricated pits with large penetrations or where the structural integrity may be compromised. | Example
3 | Design Standard |  | 41 | 5.7 | Should this be 3%? | Example
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34

## Technical Manual
Comments Register - Technical Manual
Draft South Australian Gorwth Areas Technical Manual
Document Details:
Reviewer
No. | Document name | Rev | Page | Ref (Section, table, figure no.) | Comment | Author
1 | Technical Manual |  | 16 | 4.4 | In raising the levels at the boundary there is a risk of exceeding the grade of the footpath crossfall. It should be stated that grade of footpath and verge cannot exceed that specified in 5.8. | Example
2 | Technical Manual |  | 22 | 4.11 | A certificate of structural integrity should also apply for prefabricated pits with large penetrations or where the structural integrity may be compromised. | Example
3 | Technical Manual |  | 41 | 5.7 | Should this be 3%? | Example
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34

## Standard Drawings
Comments Register - Standard Drawings
Draft South Australian Growth Areas Standard Drawings
Document Details:
Reviewer
No. | Document name | Rev | Page | Ref (Section, table, figure no.) | Comment | Author
1 | Standard Drawings |  | 16 | 4.4 | In raising the levels at the boundary there is a risk of exceeding the grade of the footpath crossfall. It should be stated that grade of footpath and verge cannot exceed that specified in 5.8. | Example
2 | Standard Drawings |  | 22 | 4.11 | A certificate of structural integrity should also apply for prefabricated pits with large penetrations or where the structural integrity may be compromised. | Example
3 | Standard Drawings |  | 41 | 5.7 | Should this be 3%? | Example
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34